## LinkID
Client | Telco Site ID | SCL Site Code | System Host name | Capacity | Link ID | ID
Grameen Phone | CGDRLM | CGBAY025 | CGBAY025HTR01_CGDRLM | 200Mbps | gmpn_310822_141_nb:CGDRLM | gmpn_310822_141_nb
Grameen Phone | CGCAN2 | CGBAY026 | CGBAY026HTR01_CGCAN2 | 200Mbps | gmpn_310822_142_nb:CGCAN2 | gmpn_310822_142_nb
Grameen Phone | CGCAN1 | CGBAY027 | CGBAY027HTR01_CGCAN1 | 200Mbps | gmpn_310822_143_nb:CGCAN1 | gmpn_310822_143_nb
Grameen Phone | CGOXB1 | CGBAY028 | CGBAY028HTR01_CGOXB1 | 200Mbps | gmpn_310822_144_nb:CGOXB1 | gmpn_310822_144_nb

## Ring Plan
[11 empty] | UG POC Infromation |  |  | Total fiber information | Existing UG | Existing Fiber Information | [6 empty] | New OH Fiber Information | [6 empty] | New UG Fiber Information | [7 empty] | Other Infromation | [9 empty] | Capacity | Existing site device model on basis of current Capacity
Survey Ring No | Planned Ring No | FROM BTS | TO BTS | Ring Capacity | Total Uniquesite | Feasible Sites_2nd Bucket | RIO_SC | OPUS FID | On-air Targeted Month | Survey Type(Desk/Physical) | UG Info_FROM POC | UG Info_TO POC | Total Link Distance [UG(Ext+New) + OH (Ext+New) + Vertical] (km) | Total Link Distance [UG(Ext+New) + OH (Ext+New) + Vertical] (m) | UG Fiber Distance(m) | Existing Fiber Information_Total OH Fiber Distance (m) | Existing Fiber Information_Non Usable OH Fiber Distance (m) (with core info.) | Existing Fiber Information_Usable OH Fiber Distance | Existing Fiber Information_Fiber Type (Normal / Messenger ) | Existing Fiber Information_Total Core of fiber( 4/6/12/24/48/144/432) | Existing Fiber Information_Number of Core Used | Existing Fiber Information_Number of Core Available | New Fiber without Vertical_Required New Fiber Distance (m) | New Fiber_Pole Available Distance (m) | New Fiber_Pole Unavailable Distance (m) | New Fiber_No. of OH Pole Required | New Fiber_Path Fiber Type (Normal /Messenger) & Core(mention by RIO) | New Fiber_Vertical Fiber Distance (m) | New Fiber_Vertical Fiber Type (Normal /Messenger) & Core | Required New UG_HDD Distance (m) | Required New UG_Open Cut Distance (m) | Required New UG_Duct Distance (m) | Required New UG_Fiber Distance (m) | New UG Fiber Type (48/144/432) | New Required Encloser | No. of UG Pole Required/ UG pole activation | For Relocation_Old Site to new site distance(m) | SPOF Distance (m) | Type of SPOF | Geographical Challenges | Permission Requirement Details | Feasibility Call ( Feasible/ Not Feasible ) | Approx Deployment Time Line | RIO_Fiber Change Proposal | After Change Dismantle(m) | Remarks Scomm RIO & NPD | Remarks (for Operator) | Capacity(Mbps) | ACX 1000 | ACX1100 | ACX2100 | ACX-2200 | ATN 910 B-D | ATN 910 C-F | ATN 910 B | ATN 910 B-F | ATN C-G (6 Port) | 10G_Single Core_SFP_20 km(pair) | 10G_Single Core_SFP_40 km(Pair) | 10G_Single Core_SFP_60 km(Pair) | 1G_Dual Core_SFP_10 km(current capacity) | 10G_Dual Core_SFP_20 km | 10G_Dual Core_SFP_40 km | 10G_Dual Core_SFP_80 km | SLA for sites | Deatails Remarks | SLA for sites | Deatails Remarks
CTG-GP-RING-1023_2 | CG-GP-RING-1010 | CGSDRC01HTR01 | CGDRLM | 10G | CGDRLM | CGDRLM | RIO2_CTG South |  |  | Desk Survey Required |  |  | 4.663 | 4663 | 0 | 4058 | 0 | 4058 | Messenger | 12 | 7 | 5 | 525 | 525 | 0 | 0 | Normal & 6 Core | 80 | 12 core normal | [8 empty] | 0 | N/A | N/A | N/A | Feasible | 6 to 12 |  |  |  | Feasible | Initial 200Mbps. Forecasted capacity will be shared soon | [8 empty] | 1 | 1 | [7 empty] | Please provide single core ring plan.
CTG-GP-RING-1023_2 | CG-GP-RING-1010 | CGDRLM | CGCAN2 | 10G | CGCAN2 | CGCAN2 | RIO2_CTG South |  |  | Desk Survey Required |  |  | 2.683 | 2683 | 0 | 1253 | 0 | 1253 | Messenger | 12 | 7 | 5 | 1350 | 1350 | 0 | 0 | Messenger & 6 Core | 80 | 12 core normal | [8 empty] | 0 | N/A | N/A | N/A | Feasible | 6 to 12 |  |  |  | Feasible | 1Gbps | [8 empty] | 1 | 1 | [7 empty] | Please provide single core ring plan. Due to Ctg Cantonment is a restricted area. OH cable lay is restricted. So at first we need to try core rent from BD Army Authority. If BD Army disagree to rent the core then we need to HDD 1350m for underground the network in side Bayzid Cantonment area.
CTG-GP-RING-1023_2 | CG-GP-RING-1010 | CGCAN2 | CGCAN1 | 10G | CGCAN1 | CGCAN1 | RIO2_CTG South |  |  | Physical Survey Required |  |  | 2.14 | 2140 | 0 | 0 |  | 0 | N/A | 0 | 0 | 0 | 2060 | 2060 | 0 | 0 | Messenger & 6 Core | 80 | 12 core normal | [8 empty] | 0 | N/A | N/A | N/A | Feasible | 6 to 12 |  |  |  | Feasible | 500Mbps | [8 empty] | 1 | 1 | [7 empty] | Please provide single core ring plan. Due to Ctg Cantonment is a restricted area. OH cable lay is restricted. So at first we need to try core rent from BD Army Authority. If BD Army disagree to rent the core then we need to HDD 2050m for underground the network in side Bayzid Cantonment area.
CTG-GP-RING-1023_2 | CG-GP-RING-1010 | CGCAN1 | CGOXB1 | 10G | CGOXB1 | CGOXB1 | RIO2_CTG South |  |  | Desk Survey Required |  |  | 4.918 | 4918 | 0 | 3193 | 0 | 3193 | N/A | 0 | 0 | 0 | 1645 | 1645 | 0 | 0 | Messenger & 6 Core | 80 | 12 core normal | [8 empty] | 0 | N/A | N/A | N/A | Feasible | 6 to 12 |  |  |  | Feasible | Initial 200Mbps. Forecasted capacity will be shared soon | [8 empty] | 1 | 1 | [7 empty] | Please provide single core ring plan. Due to Ctg Cantonment is a restricted area. OH cable lay is restricted. So at first we need to try core rent from BD Army Authority. If BD Army disagree to rent the core then we need to HDD 1480m for underground the network in side Bayzid Cantonment area.
CTG-GP-RING-1023_2 | CG-GP-RING-1010 | CGOXB1 | CGPNC017HTR01_CGPCH28 | 10G |  |  | RIO2_CTG South |  |  | Desk Survey Required |  |  | 3.086 | 3086 | 0 | 2916 | 0 | 2916 | Normal | 6 | 4 | 2 | 90 | 90 | 0 | 0 | Normal & 6 Core | 80 | 12 core normal | [8 empty] | 0 | N/A | N/A | N/A | Feasible | 6 to 12 | [14 empty] | 1 | [7 empty] | Please provide single core ring plan.

## Ring & Device Plan
Ring No | Physical Ring |  | Device | Loopback Info |  |  |  |  | Interface Details & Enabled Protocols | [5 empty] | ISIS Level ¦ Metric ¦ Style¦ L1 |  | BGP Info |  |  |  |  | ISIS/OSPF Area (From Site) |  | mgmt-vrf (From Site) |  |  | NNI INFO
|  |  |  | Loopback IP (Unit_0) |  | Loopback IP (Unit_1) |  | lo0 Group Name | Physical Interface |  | Interface IP/30 |  | Protocols |  |  |  | Local Address | Group | Neighbor-1 | Neighbor-2 | Neighbor-3 | ISO/Network Entity (From Site) | OSPF Area ID | RD | RT (export) | RT (import)
| FROM Site | TO Site | (To Site) | FROM Site | TO Site | FROM Site | TO Site |  | FROM Site | TO Site | FROM Site | TO Site | FROM Site | TO Site | FROM Site | TO Site | [10 empty] | FROM Site | TO Site
Planned Scenario
CG-GP-RING-1010 | CGSDRC01HTR01 | CGBAY025HTR01_CGDRLM | ATN910 C-G | 10.33.100.129 | 10.36.10.128 | Existing | 172.36.10.128 | Chittagong-03-CG-1010_1 | GE6/0/21 | GE0/2/0 | 10.36.10.1 | 10.36.10.2 | ISIS, MPLS, LDP, QoS | ISIS, MPLS, LDP, QoS | 500 | 500 | 10.36.10.128 | IBGP-CTG-COX-RR | 10.33.100.129 | 10.33.100.128 | 10.45.0.131 | 49.0033.0100.3601.0128.00 | N/R | 58717:103610128 | 58717:0000 | 58717:0001 | NNI:CGSDRC01HTR01-GE6/0/21-CGBAY025HTR01_CGDRLM-GE0/2/0
CG-GP-RING-1010 | CGBAY025HTR01_CGDRLM | CGBAY026HTR01_CGCAN2 | ATN910 C-G | 10.36.10.128 | 10.36.10.129 | 172.36.10.128 | 172.36.10.129 | Chittagong-03-CG-1010_1 | GE0/2/1 | GE0/2/0 | 10.36.10.5 | 10.36.10.6 | ISIS, MPLS, LDP, QoS | ISIS, MPLS, LDP, QoS | 500 | 500 | 10.36.10.129 | IBGP-CTG-COX-RR | 10.33.100.129 | 10.33.100.128 | 10.45.0.131 | 49.0033.0100.3601.0129.00 | N/R | 58717:103610129 | 58717:0000 | 58717:0001 | NNI:CGBAY025HTR01_CGDRLM-GE0/2/1-CGBAY026HTR01_CGCAN2-GE0/2/0
CG-GP-RING-1010 | CGBAY026HTR01_CGCAN2 | CGBAY027HTR01_CGCAN1 | ATN910 C-G | 10.36.10.129 | 10.36.10.130 | 172.36.10.129 | 172.36.10.130 | Chittagong-03-CG-1010_1 | GE0/2/1 | GE0/2/0 | 10.36.10.9 | 10.36.10.10 | ISIS, MPLS, LDP, QoS | ISIS, MPLS, LDP, QoS | 500 | 500 | 10.36.10.130 | IBGP-CTG-COX-RR | 10.33.100.129 | 10.33.100.128 | 10.45.0.131 | 49.0033.0100.3601.0130.00 | N/R | 58717:103610130 | 58717:0000 | 58717:0001 | NNI:CGBAY026HTR01_CGCAN2-GE0/2/1-CGBAY027HTR01_CGCAN1-GE0/2/0
CG-GP-RING-1010 | CGBAY027HTR01_CGCAN1 | CGBAY028HTR01_CGOXB1 | ATN910 C-G | 10.36.10.130 | 10.36.10.131 | 172.36.10.130 | 172.36.10.131 | Chittagong-03-CG-1010_1 | GE0/2/1 | GE0/2/0 | 10.36.10.13 | 10.36.10.14 | ISIS, MPLS, LDP, QoS | ISIS, MPLS, LDP, QoS | 500 | 500 | 10.36.10.131 | IBGP-CTG-COX-RR | 10.33.100.129 | 10.33.100.128 | 10.45.0.131 | 49.0033.0100.3601.0131.00 | N/R | 58717:103610131 | 58717:0000 | 58717:0001 | NNI:CGBAY027HTR01_CGCAN1-GE0/2/1-CGBAY028HTR01_CGOXB1-GE0/2/0
CG-GP-RING-1010 | CGBAY028HTR01_CGOXB1 | CGPNC017HTR01_CGPCH28 |  | 10.36.10.132 | 10.33.100.133 | 172.36.10.132 | Existing |  | GE0/2/1 | GE0/2/5 | 10.36.10.17 | 10.36.10.18 | ISIS, MPLS, LDP, QoS | ISIS, MPLS, LDP, QoS | 500 | 500 | 10.33.100.133 | [5 empty] | N/R |  |  |  | NNI:CGBAY028HTR01_CGOXB1-GE0/2/1-CGPNC017HTR01_CGPCH28-GE0/2/5
0100.3601.0128
CGDRLM_CGCAN2_CGCAN1_CGOXB1
CGBAY026HTR01
CGBAY027HTR01
CGBAY028HTR01

## CGBAY025HTR01_CGDRLM
undo pnp enable
telnet server enable
telnet server-source all-interface
Y
telnet ipv6 server-source all-interface
Y
#
sysname CGBAY025HTR01_CGDRLM
#
lldp enable
stelnet server enable
ssh client first-time enable
#
clock timezone BST add 06:00:00
#
isis 1
network-entity 49.0033.0100.3601.0128.00
cost-style wide
attached-bit avoid-learning
is-level level-1
is-name CGBAY025HTR01_CGDRLM
traffic-eng level-1
#
interface LoopBack0
ip address 10.36.10.128 32
isis enable 1
isis circuit-level level-1
#
undo ntp-service disable
ntp-service source-interface LoopBack0
ntp-service unicast-server 10.1.0.130
#
bfd
#
mpls lsr-id 10.36.10.128
mpls
mpls te
mpls rsvp-te
mpls rsvp-te srefresh
mpls te cspf
mpls te auto-frr
#
mpls ldp
#
mpls l2vpn
#
acl name SNMP number 2000
rule 3 permit source 172.19.0.64 0.0.0.15
rule 4 permit source 172.19.0.48 0.0.0.15
rule 5 permit source 172.16.0.0 0.0.0.31
#
ip vpn-instance Mgmt-VRF
route-distinguisher 58717:103610128
vpn-target 58717:0001 import-extcommunity
vpn-target 58717:0000 export-extcommunity
apply-label per-instance
#
radius-server group radius
radius-server authentication 172.16.0.4 1812
radius-server shared-key-cipher 123
radius-server source interface LoopBack0
radius-server user-name original
#
aaa
local-user root password cipher Changeme_123
local-user root service-type ssh telnet ftp
local-user root level 3
local-user root state block fail-times 3 interval 5
local-user scl_admin password cipher Scladmin@12345
local-user scl_admin service-type ftp telnet ssh
local-user scl_admin level 3
local-user scl_admin state block fail-times 3 interval 5
local-user scl_admin ftp-directory cfcard:
authentication-scheme default0
authentication-scheme default1
authentication-scheme default
authentication-mode local radius
authentication-scheme auth
authentication-mode local radius
#
authorization-scheme default
#
accounting-scheme default0
accounting-scheme default1
#
domain default_admin
authentication-scheme auth
accounting-scheme default0
radius-server group radius
domain default_8021x
accounting-scheme default0
#
license
active port-basic slot 2 port 0-5
active port-basic slot 2 port 16-31
#
interface GigabitEthernet0/2/0
description NNI:CGSDRC01HTR01-GE6/0/21-CGBAY025HTR01_CGDRLM-GE0/2/0
undo shutdown
mtu 9192
ip address 10.36.10.2 30
isis enable 1
isis circuit-type p2p
isis circuit-level level-1
isis cost 500
mpls
mpls te
mpls te auto-frr link
mpls rsvp-te
mpls ldp
dcn
negotiation auto
trust upstream default
clock synchronization enable
clock priority 1
clock ssm prc
#
interface GigabitEthernet0/2/1
description NNI:CGBAY025HTR01_CGDRLM-GE0/2/1-CGBAY026HTR01_CGCAN2-GE0/2/0
undo shutdown
mtu 9192
ip address 10.36.10.5 30
isis enable 1
isis circuit-type p2p
isis circuit-level level-1
isis cost 500
mpls
mpls te
mpls te auto-frr link
mpls rsvp-te
mpls ldp
dcn
negotiation auto
trust upstream default
clock synchronization enable
clock priority 1
clock ssm prc
#
bgp 58717
router-id 10.36.10.128
group IBGP-CTG-COX-RR internal
peer 10.33.100.129 as-number 58717
peer 10.33.100.129 group IBGP-CTG-COX-RR
peer 10.33.100.129 connect-interface LoopBack0
peer 10.33.100.128 as-number 58717
peer 10.33.100.128 group IBGP-CTG-COX-RR
peer 10.33.100.128 connect-interface LoopBack0
peer 10.45.0.131 as-number 58717
peer 10.45.0.131 group IBGP-CTG-COX-RR
peer 10.45.0.131 connect-interface LoopBack0
#
ipv4-family vpnv4
peer IBGP-CTG-COX-RR enable
peer 10.33.100.129 enable
Y
peer 10.33.100.129 group IBGP-CTG-COX-RR
peer 10.33.100.128 enable
Y
peer 10.33.100.128 group IBGP-CTG-COX-RR
peer 10.45.0.131 enable
Y
peer 10.45.0.131 group IBGP-CTG-COX-RR
#
ipv4-family vpn-instance Mgmt-VRF
import-route direct
#
interface LoopBack1
ip binding vpn-instance Mgmt-VRF
ip address 172.36.10.128 32
description Chittagong-03-CG-1010_1
#
snmp-agent
snmp-agent mib-view included iso iso
snmp-agent community read cipher space123 mib-view iso acl 2000
snmp-agent community write space1234 acl 2000
snmp-agent sys-info version all
snmp-agent target-host trap address udp-domain 172.16.0.2 params securityname space1234 v2c private-netmanager
snmp-agent target-host trap address udp-domain 172.16.0.3 params securityname space1234 v2c private-netmanager
snmp-agent target-host trap address udp-domain 172.16.0.11 params securityname space1234 v2c private-netmanager
snmp-agent target-host trap address udp-domain 172.16.0.12 params securityname space1234 v2c private-netmanager
snmp-agent target-host trap address udp-domain 172.16.0.18 params securityname space1234 v2c private-netmanager
snmp-agent target-host trap address udp-domain 172.19.0.50 params securityname cipher space123 v2c private-netmanager
snmp-agent target-host trap address udp-domain 172.19.0.66 params securityname cipher space123 v2c private-netmanager
snmp-agent trap source LoopBack0
snmp-agent trap enable
#
FTP server enable
FTP client-source -i LoopBack0
#
radius enable
#
telnet server enable
telnet client-source -i LoopBack0
#
undo ssh server compatible-ssh1x enable
stelnet ipv4 server enable
stelnet ipv6 server enable
ssh user root
ssh user root authentication-type password
ssh user root service-type stelnet
ssh user scl_admin
ssh user scl_admin authentication-type password
ssh user scl_admin service-type all
ssh authorization-type default aaa
ssh client first-time enable
sftp client-source -i LoopBack0
#
command-privilege level 1 view global display current-configuration
command-privilege level 1 view global display traffic policy
command-privilege level 1 view global display traffic behavior
#
user-interface vty 0 4
authentication-mode aaa
user privilege level 1
protocol inbound all
#
netconf
protocol inbound ssh ipv4 port 830
protocol inbound ssh ipv6 port 830
activate module huawei-ip
#
interface GigabitEthernet0/2/6
description Port_cannot_be_used_due_to_insufficient_license
#
interface GigabitEthernet0/2/7
description Port_cannot_be_used_due_to_insufficient_license
#
interface GigabitEthernet0/2/8
description Port_cannot_be_used_due_to_insufficient_license
#
interface GigabitEthernet0/2/9
description Port_cannot_be_used_due_to_insufficient_license
#
interface GigabitEthernet0/2/10
description Port_cannot_be_used_due_to_insufficient_license
#
interface GigabitEthernet0/2/11
description Port_cannot_be_used_due_to_insufficient_license
#
interface GigabitEthernet0/2/12
description Port_cannot_be_used_due_to_insufficient_license
#
interface GigabitEthernet0/2/13
description Port_cannot_be_used_due_to_insufficient_license
#
interface GigabitEthernet0/2/14
description Port_cannot_be_used_due_to_insufficient_license
#
interface GigabitEthernet0/2/15
description Port_cannot_be_used_due_to_insufficient_license

## CGBAY026HTR01_CGCAN2
undo pnp enable
telnet server enable
telnet server-source all-interface
Y
telnet ipv6 server-source all-interface
Y
#
sysname CGBAY026HTR01_CGCAN2
#
lldp enable
stelnet server enable
ssh client first-time enable
#
clock timezone BST add 06:00:00
#
isis 1
network-entity 49.0033.0100.3601.0129.00
cost-style wide
attached-bit avoid-learning
is-level level-1
is-name CGBAY026HTR01_CGCAN2
traffic-eng level-1
#
interface LoopBack0
ip address 10.36.10.129 32
isis enable 1
isis circuit-level level-1
#
undo ntp-service disable
ntp-service source-interface LoopBack0
ntp-service unicast-server 10.1.0.130
#
bfd
#
mpls lsr-id 10.36.10.129
mpls
mpls te
mpls rsvp-te
mpls rsvp-te srefresh
mpls te cspf
mpls te auto-frr
#
mpls ldp
#
mpls l2vpn
#
acl name SNMP number 2000
rule 3 permit source 172.19.0.64 0.0.0.15
rule 4 permit source 172.19.0.48 0.0.0.15
rule 5 permit source 172.16.0.0 0.0.0.31
#
ip vpn-instance Mgmt-VRF
route-distinguisher 58717:103610129
vpn-target 58717:0001 import-extcommunity
vpn-target 58717:0000 export-extcommunity
apply-label per-instance
#
radius-server group radius
radius-server authentication 172.16.0.4 1812
radius-server shared-key-cipher 123
radius-server source interface LoopBack0
radius-server user-name original
#
aaa
local-user root password cipher Changeme_123
local-user root service-type ssh telnet ftp
local-user root level 3
local-user root state block fail-times 3 interval 5
local-user scl_admin password cipher Scladmin@12345
local-user scl_admin service-type ftp telnet ssh
local-user scl_admin level 3
local-user scl_admin state block fail-times 3 interval 5
local-user scl_admin ftp-directory cfcard:
authentication-scheme default0
authentication-scheme default1
authentication-scheme default
authentication-mode local radius
authentication-scheme auth
authentication-mode local radius
#
authorization-scheme default
#
accounting-scheme default0
accounting-scheme default1
#
domain default_admin
authentication-scheme auth
accounting-scheme default0
radius-server group radius
domain default_8021x
accounting-scheme default0
#
license
active port-basic slot 2 port 0-5
active port-basic slot 2 port 16-31
#
interface GigabitEthernet0/2/0
description NNI:CGBAY025HTR01_CGDRLM-GE0/2/1-CGBAY026HTR01_CGCAN2-GE0/2/0
undo shutdown
mtu 9192
ip address 10.36.10.6 30
isis enable 1
isis circuit-type p2p
isis circuit-level level-1
isis cost 500
mpls
mpls te
mpls te auto-frr link
mpls rsvp-te
mpls ldp
dcn
negotiation auto
trust upstream default
clock synchronization enable
clock priority 1
clock ssm prc
#
interface GigabitEthernet0/2/1
description NNI:CGBAY026HTR01_CGCAN2-GE0/2/1-CGBAY027HTR01_CGCAN1-GE0/2/0
undo shutdown
mtu 9192
ip address 10.36.10.9 30
isis enable 1
isis circuit-type p2p
isis circuit-level level-1
isis cost 500
mpls
mpls te
mpls te auto-frr link
mpls rsvp-te
mpls ldp
dcn
negotiation auto
trust upstream default
clock synchronization enable
clock priority 1
clock ssm prc
#
bgp 58717
router-id 10.36.10.129
group IBGP-CTG-COX-RR internal
peer 10.33.100.129 as-number 58717
peer 10.33.100.129 group IBGP-CTG-COX-RR
peer 10.33.100.129 connect-interface LoopBack0
peer 10.33.100.128 as-number 58717
peer 10.33.100.128 group IBGP-CTG-COX-RR
peer 10.33.100.128 connect-interface LoopBack0
peer 10.45.0.131 as-number 58717
peer 10.45.0.131 group IBGP-CTG-COX-RR
peer 10.45.0.131 connect-interface LoopBack0
#
ipv4-family vpnv4
peer IBGP-CTG-COX-RR enable
peer 10.33.100.129 enable
Y
peer 10.33.100.129 group IBGP-CTG-COX-RR
peer 10.33.100.128 enable
Y
peer 10.33.100.128 group IBGP-CTG-COX-RR
peer 10.45.0.131 enable
Y
peer 10.45.0.131 group IBGP-CTG-COX-RR
#
ipv4-family vpn-instance Mgmt-VRF
import-route direct
#
interface LoopBack1
ip binding vpn-instance Mgmt-VRF
ip address 172.36.10.129 32
description Chittagong-03-CG-1010_1
#
snmp-agent
snmp-agent mib-view included iso iso
snmp-agent community read cipher space123 mib-view iso acl 2000
snmp-agent community write space1234 acl 2000
snmp-agent sys-info version all
snmp-agent target-host trap address udp-domain 172.16.0.2 params securityname space1234 v2c private-netmanager
snmp-agent target-host trap address udp-domain 172.16.0.3 params securityname space1234 v2c private-netmanager
snmp-agent target-host trap address udp-domain 172.16.0.11 params securityname space1234 v2c private-netmanager
snmp-agent target-host trap address udp-domain 172.16.0.12 params securityname space1234 v2c private-netmanager
snmp-agent target-host trap address udp-domain 172.16.0.18 params securityname space1234 v2c private-netmanager
snmp-agent target-host trap address udp-domain 172.19.0.50 params securityname cipher space123 v2c private-netmanager
snmp-agent target-host trap address udp-domain 172.19.0.66 params securityname cipher space123 v2c private-netmanager
snmp-agent trap source LoopBack0
snmp-agent trap enable
#
FTP server enable
FTP client-source -i LoopBack0
#
radius enable
#
telnet server enable
telnet client-source -i LoopBack0
#
undo ssh server compatible-ssh1x enable
stelnet ipv4 server enable
stelnet ipv6 server enable
ssh user root
ssh user root authentication-type password
ssh user root service-type stelnet
ssh user scl_admin
ssh user scl_admin authentication-type password
ssh user scl_admin service-type all
ssh authorization-type default aaa
ssh client first-time enable
sftp client-source -i LoopBack0
#
command-privilege level 1 view global display current-configuration
command-privilege level 1 view global display traffic policy
command-privilege level 1 view global display traffic behavior
#
user-interface vty 0 4
authentication-mode aaa
user privilege level 1
protocol inbound all
#
netconf
protocol inbound ssh ipv4 port 830
protocol inbound ssh ipv6 port 830
activate module huawei-ip
#
interface GigabitEthernet0/2/6
description Port_cannot_be_used_due_to_insufficient_license
#
interface GigabitEthernet0/2/7
description Port_cannot_be_used_due_to_insufficient_license
#
interface GigabitEthernet0/2/8
description Port_cannot_be_used_due_to_insufficient_license
#
interface GigabitEthernet0/2/9
description Port_cannot_be_used_due_to_insufficient_license
#
interface GigabitEthernet0/2/10
description Port_cannot_be_used_due_to_insufficient_license
#
interface GigabitEthernet0/2/11
description Port_cannot_be_used_due_to_insufficient_license
#
interface GigabitEthernet0/2/12
description Port_cannot_be_used_due_to_insufficient_license
#
interface GigabitEthernet0/2/13
description Port_cannot_be_used_due_to_insufficient_license
#
interface GigabitEthernet0/2/14
description Port_cannot_be_used_due_to_insufficient_license
#
interface GigabitEthernet0/2/15
description Port_cannot_be_used_due_to_insufficient_license

## CGBAY027HTR01_CGCAN1
undo pnp enable
telnet server enable
telnet server-source all-interface
Y
telnet ipv6 server-source all-interface
Y
#
sysname CGBAY027HTR01_CGCAN1
#
lldp enable
stelnet server enable
ssh client first-time enable
#
clock timezone BST add 06:00:00
#
isis 1
network-entity 49.0033.0100.3601.0130.00
cost-style wide
attached-bit avoid-learning
is-level level-1
is-name CGBAY027HTR01_CGCAN1
traffic-eng level-1
#
interface LoopBack0
ip address 10.36.10.130 32
isis enable 1
isis circuit-level level-1
#
undo ntp-service disable
ntp-service source-interface LoopBack0
ntp-service unicast-server 10.1.0.130
#
bfd
#
mpls lsr-id 10.36.10.130
mpls
mpls te
mpls rsvp-te
mpls rsvp-te srefresh
mpls te cspf
mpls te auto-frr
#
mpls ldp
#
mpls l2vpn
#
acl name SNMP number 2000
rule 3 permit source 172.19.0.64 0.0.0.15
rule 4 permit source 172.19.0.48 0.0.0.15
rule 5 permit source 172.16.0.0 0.0.0.31
#
ip vpn-instance Mgmt-VRF
route-distinguisher 58717:103610130
vpn-target 58717:0001 import-extcommunity
vpn-target 58717:0000 export-extcommunity
apply-label per-instance
#
radius-server group radius
radius-server authentication 172.16.0.4 1812
radius-server shared-key-cipher 123
radius-server source interface LoopBack0
radius-server user-name original
#
aaa
local-user root password cipher Changeme_123
local-user root service-type ssh telnet ftp
local-user root level 3
local-user root state block fail-times 3 interval 5
local-user scl_admin password cipher Scladmin@12345
local-user scl_admin service-type ftp telnet ssh
local-user scl_admin level 3
local-user scl_admin state block fail-times 3 interval 5
local-user scl_admin ftp-directory cfcard:
authentication-scheme default0
authentication-scheme default1
authentication-scheme default
authentication-mode local radius
authentication-scheme auth
authentication-mode local radius
#
authorization-scheme default
#
accounting-scheme default0
accounting-scheme default1
#
domain default_admin
authentication-scheme auth
accounting-scheme default0
radius-server group radius
domain default_8021x
accounting-scheme default0
#
license
active port-basic slot 2 port 0-5
active port-basic slot 2 port 16-31
#
interface GigabitEthernet0/2/0
description NNI:CGBAY026HTR01_CGCAN2-GE0/2/1-CGBAY027HTR01_CGCAN1-GE0/2/0
undo shutdown
mtu 9192
ip address 10.36.10.10 30
isis enable 1
isis circuit-type p2p
isis circuit-level level-1
isis cost 500
mpls
mpls te
mpls te auto-frr link
mpls rsvp-te
mpls ldp
dcn
negotiation auto
trust upstream default
clock synchronization enable
clock priority 1
clock ssm prc
#
interface GigabitEthernet0/2/1
description NNI:CGBAY027HTR01_CGCAN1-GE0/2/1-CGBAY028HTR01_CGOXB1-GE0/2/0
undo shutdown
mtu 9192
ip address 10.36.10.13 30
isis enable 1
isis circuit-type p2p
isis circuit-level level-1
isis cost 500
mpls
mpls te
mpls te auto-frr link
mpls rsvp-te
mpls ldp
dcn
negotiation auto
trust upstream default
clock synchronization enable
clock priority 1
clock ssm prc
#
bgp 58717
router-id 10.36.10.130
group IBGP-CTG-COX-RR internal
peer 10.33.100.129 as-number 58717
peer 10.33.100.129 group IBGP-CTG-COX-RR
peer 10.33.100.129 connect-interface LoopBack0
peer 10.33.100.128 as-number 58717
peer 10.33.100.128 group IBGP-CTG-COX-RR
peer 10.33.100.128 connect-interface LoopBack0
peer 10.45.0.131 as-number 58717
peer 10.45.0.131 group IBGP-CTG-COX-RR
peer 10.45.0.131 connect-interface LoopBack0
#
ipv4-family vpnv4
peer IBGP-CTG-COX-RR enable
peer 10.33.100.129 enable
Y
peer 10.33.100.129 group IBGP-CTG-COX-RR
peer 10.33.100.128 enable
Y
peer 10.33.100.128 group IBGP-CTG-COX-RR
peer 10.45.0.131 enable
Y
peer 10.45.0.131 group IBGP-CTG-COX-RR
#
ipv4-family vpn-instance Mgmt-VRF
import-route direct
#
interface LoopBack1
ip binding vpn-instance Mgmt-VRF
ip address 172.36.10.130 32
description Chittagong-03-CG-1010_1
#
snmp-agent
snmp-agent mib-view included iso iso
snmp-agent community read cipher space123 mib-view iso acl 2000
snmp-agent community write space1234 acl 2000
snmp-agent sys-info version all
snmp-agent target-host trap address udp-domain 172.16.0.2 params securityname space1234 v2c private-netmanager
snmp-agent target-host trap address udp-domain 172.16.0.3 params securityname space1234 v2c private-netmanager
snmp-agent target-host trap address udp-domain 172.16.0.11 params securityname space1234 v2c private-netmanager
snmp-agent target-host trap address udp-domain 172.16.0.12 params securityname space1234 v2c private-netmanager
snmp-agent target-host trap address udp-domain 172.16.0.18 params securityname space1234 v2c private-netmanager
snmp-agent target-host trap address udp-domain 172.19.0.50 params securityname cipher space123 v2c private-netmanager
snmp-agent target-host trap address udp-domain 172.19.0.66 params securityname cipher space123 v2c private-netmanager
snmp-agent trap source LoopBack0
snmp-agent trap enable
#
FTP server enable
FTP client-source -i LoopBack0
#
radius enable
#
telnet server enable
telnet client-source -i LoopBack0
#
undo ssh server compatible-ssh1x enable
stelnet ipv4 server enable
stelnet ipv6 server enable
ssh user root
ssh user root authentication-type password
ssh user root service-type stelnet
ssh user scl_admin
ssh user scl_admin authentication-type password
ssh user scl_admin service-type all
ssh authorization-type default aaa
ssh client first-time enable
sftp client-source -i LoopBack0
#
command-privilege level 1 view global display current-configuration
command-privilege level 1 view global display traffic policy
command-privilege level 1 view global display traffic behavior
#
user-interface vty 0 4
authentication-mode aaa
user privilege level 1
protocol inbound all
#
netconf
protocol inbound ssh ipv4 port 830
protocol inbound ssh ipv6 port 830
activate module huawei-ip
#
interface GigabitEthernet0/2/6
description Port_cannot_be_used_due_to_insufficient_license
#
interface GigabitEthernet0/2/7
description Port_cannot_be_used_due_to_insufficient_license
#
interface GigabitEthernet0/2/8
description Port_cannot_be_used_due_to_insufficient_license
#
interface GigabitEthernet0/2/9
description Port_cannot_be_used_due_to_insufficient_license
#
interface GigabitEthernet0/2/10
description Port_cannot_be_used_due_to_insufficient_license
#
interface GigabitEthernet0/2/11
description Port_cannot_be_used_due_to_insufficient_license
#
interface GigabitEthernet0/2/12
description Port_cannot_be_used_due_to_insufficient_license
#
interface GigabitEthernet0/2/13
description Port_cannot_be_used_due_to_insufficient_license
#
interface GigabitEthernet0/2/14
description Port_cannot_be_used_due_to_insufficient_license
#
interface GigabitEthernet0/2/15
description Port_cannot_be_used_due_to_insufficient_license

## CGBAY028HTR01_CGOXB1
undo pnp enable
telnet server enable
telnet server-source all-interface
Y
telnet ipv6 server-source all-interface
Y
#
sysname CGBAY028HTR01_CGOXB1
#
lldp enable
stelnet server enable
ssh client first-time enable
#
clock timezone BST add 06:00:00
#
isis 1
network-entity 49.0033.0100.3601.0131.00
cost-style wide
attached-bit avoid-learning
is-level level-1
is-name CGBAY028HTR01_CGOXB1
traffic-eng level-1
#
interface LoopBack0
ip address 10.36.10.131 32
isis enable 1
isis circuit-level level-1
#
undo ntp-service disable
ntp-service source-interface LoopBack0
ntp-service unicast-server 10.1.0.130
#
bfd
#
mpls lsr-id 10.36.10.131
mpls
mpls te
mpls rsvp-te
mpls rsvp-te srefresh
mpls te cspf
mpls te auto-frr
#
mpls ldp
#
mpls l2vpn
#
acl name SNMP number 2000
rule 3 permit source 172.19.0.64 0.0.0.15
rule 4 permit source 172.19.0.48 0.0.0.15
rule 5 permit source 172.16.0.0 0.0.0.31
#
ip vpn-instance Mgmt-VRF
route-distinguisher 58717:103610131
vpn-target 58717:0001 import-extcommunity
vpn-target 58717:0000 export-extcommunity
apply-label per-instance
#
radius-server group radius
radius-server authentication 172.16.0.4 1812
radius-server shared-key-cipher 123
radius-server source interface LoopBack0
radius-server user-name original
#
aaa
local-user root password cipher Changeme_123
local-user root service-type ssh telnet ftp
local-user root level 3
local-user root state block fail-times 3 interval 5
local-user scl_admin password cipher Scladmin@12345
local-user scl_admin service-type ftp telnet ssh
local-user scl_admin level 3
local-user scl_admin state block fail-times 3 interval 5
local-user scl_admin ftp-directory cfcard:
authentication-scheme default0
authentication-scheme default1
authentication-scheme default
authentication-mode local radius
authentication-scheme auth
authentication-mode local radius
#
authorization-scheme default
#
accounting-scheme default0
accounting-scheme default1
#
domain default_admin
authentication-scheme auth
accounting-scheme default0
radius-server group radius
domain default_8021x
accounting-scheme default0
#
license
active port-basic slot 2 port 0-5
active port-basic slot 2 port 16-31
#
interface GigabitEthernet0/2/0
description NNI:CGBAY027HTR01_CGCAN1-GE0/2/1-CGBAY028HTR01_CGOXB1-GE0/2/0
undo shutdown
mtu 9192
ip address 10.36.10.14 30
isis enable 1
isis circuit-type p2p
isis circuit-level level-1
isis cost 500
mpls
mpls te
mpls te auto-frr link
mpls rsvp-te
mpls ldp
dcn
negotiation auto
trust upstream default
clock synchronization enable
clock priority 1
clock ssm prc
#
interface GigabitEthernet0/2/1
description NNI:CGBAY028HTR01_CGOXB1-GE0/2/1-CGPNC017HTR01_CGPCH28-GE0/2/5
undo shutdown
mtu 9192
ip address 10.36.10.17 30
isis enable 1
isis circuit-type p2p
isis circuit-level level-1
isis cost 500
mpls
mpls te
mpls te auto-frr link
mpls rsvp-te
mpls ldp
dcn
negotiation auto
trust upstream default
clock synchronization enable
clock priority 1
clock ssm prc
#
bgp 58717
router-id 10.36.10.131
group IBGP-CTG-COX-RR internal
peer 10.33.100.129 as-number 58717
peer 10.33.100.129 group IBGP-CTG-COX-RR
peer 10.33.100.129 connect-interface LoopBack0
peer 10.33.100.128 as-number 58717
peer 10.33.100.128 group IBGP-CTG-COX-RR
peer 10.33.100.128 connect-interface LoopBack0
peer 10.45.0.131 as-number 58717
peer 10.45.0.131 group IBGP-CTG-COX-RR
peer 10.45.0.131 connect-interface LoopBack0
#
ipv4-family vpnv4
peer IBGP-CTG-COX-RR enable
peer 10.33.100.129 enable
Y
peer 10.33.100.129 group IBGP-CTG-COX-RR
peer 10.33.100.128 enable
Y
peer 10.33.100.128 group IBGP-CTG-COX-RR
peer 10.45.0.131 enable
Y
peer 10.45.0.131 group IBGP-CTG-COX-RR
#
ipv4-family vpn-instance Mgmt-VRF
import-route direct
#
interface LoopBack1
ip binding vpn-instance Mgmt-VRF
ip address 172.36.10.131 32
description Chittagong-03-CG-1010_1
#
snmp-agent
snmp-agent mib-view included iso iso
snmp-agent community read cipher space123 mib-view iso acl 2000
snmp-agent community write space1234 acl 2000
snmp-agent sys-info version all
snmp-agent target-host trap address udp-domain 172.16.0.2 params securityname space1234 v2c private-netmanager
snmp-agent target-host trap address udp-domain 172.16.0.3 params securityname space1234 v2c private-netmanager
snmp-agent target-host trap address udp-domain 172.16.0.11 params securityname space1234 v2c private-netmanager
snmp-agent target-host trap address udp-domain 172.16.0.12 params securityname space1234 v2c private-netmanager
snmp-agent target-host trap address udp-domain 172.16.0.18 params securityname space1234 v2c private-netmanager
snmp-agent target-host trap address udp-domain 172.19.0.50 params securityname cipher space123 v2c private-netmanager
snmp-agent target-host trap address udp-domain 172.19.0.66 params securityname cipher space123 v2c private-netmanager
snmp-agent trap source LoopBack0
snmp-agent trap enable
#
FTP server enable
FTP client-source -i LoopBack0
#
radius enable
#
telnet server enable
telnet client-source -i LoopBack0
#
undo ssh server compatible-ssh1x enable
stelnet ipv4 server enable
stelnet ipv6 server enable
ssh user root
ssh user root authentication-type password
ssh user root service-type stelnet
ssh user scl_admin
ssh user scl_admin authentication-type password
ssh user scl_admin service-type all
ssh authorization-type default aaa
ssh client first-time enable
sftp client-source -i LoopBack0
#
command-privilege level 1 view global display current-configuration
command-privilege level 1 view global display traffic policy
command-privilege level 1 view global display traffic behavior
#
user-interface vty 0 4
authentication-mode aaa
user privilege level 1
protocol inbound all
#
netconf
protocol inbound ssh ipv4 port 830
protocol inbound ssh ipv6 port 830
activate module huawei-ip
#
interface GigabitEthernet0/2/6
description Port_cannot_be_used_due_to_insufficient_license
#
interface GigabitEthernet0/2/7
description Port_cannot_be_used_due_to_insufficient_license
#
interface GigabitEthernet0/2/8
description Port_cannot_be_used_due_to_insufficient_license
#
interface GigabitEthernet0/2/9
description Port_cannot_be_used_due_to_insufficient_license
#
interface GigabitEthernet0/2/10
description Port_cannot_be_used_due_to_insufficient_license
#
interface GigabitEthernet0/2/11
description Port_cannot_be_used_due_to_insufficient_license
#
interface GigabitEthernet0/2/12
description Port_cannot_be_used_due_to_insufficient_license
#
interface GigabitEthernet0/2/13
description Port_cannot_be_used_due_to_insufficient_license
#
interface GigabitEthernet0/2/14
description Port_cannot_be_used_due_to_insufficient_license
#
interface GigabitEthernet0/2/15
description Port_cannot_be_used_due_to_insufficient_license

## RR
10.33.100.129 |  | Doable
BGP Neighbor Address | 10.36.10.128 | Add
BGP Neighbor Address | 10.36.10.129 | Add
BGP Neighbor Address | 10.36.10.130 | Add
BGP Neighbor Address | 10.36.10.131 | Add
10.33.100.128 |  | Doable
BGP Neighbor Address | 10.36.10.128 | Add
BGP Neighbor Address | 10.36.10.129 | Add
BGP Neighbor Address | 10.36.10.130 | Add
BGP Neighbor Address | 10.36.10.131 | Add
10.45.0.131 |  | Doable
BGP Neighbor Address | 10.36.10.128 | Add
BGP Neighbor Address | 10.36.10.129 | Add
BGP Neighbor Address | 10.36.10.130 | Add
BGP Neighbor Address | 10.36.10.131 | Add

## ISO Formate
10 | 36 | 10 | 128 | 2 | 2 | 2 | 3 | 0 | 0 | 0 | 0
010 | 036 | 010 | 128 | 3 | 3 | 3 | 3 | 0 | 0 | 0 | 0
010 | 036 | 010 | 128
010036010128
01003601 |  | 0128
0100 | 3601 | 0128
.0100.3601.0128.00
.0100.3601.0128.00

## Associated Task
RIO
> Fiber pulling
> Core readiness
> Device Installation & Power Up.
> New SFP insertion
I&C
> Perform Logical configuration as required